## Summary_List_Data
Legislation reference (A) | ESO (B) | Reference number of the standard (C) | Title of the standard (D) | Date of start of presumption of conformity (1) | OJ reference for publication in OJ (2) | Restriction (3) | Date of start of presumption of conformity with restriction (4) | OJ reference for publication of a restriction in OJ (5) | Date of withdrawal from OJ (end of presumption of conformity) (6) | OJ reference for withdrawal from OJ (7)
2014/32/EU | CEN | EN 1359:1998, EN 1359:1998/A1:2006 | Gas meters - Diaphragm gas meters | 2016-04-20 | OJ C 218 - 24/07/2012 | - |  | - | 2023-02-26 | OJ L 302 - 26/08/2021
2014/32/EU | CEN | EN 1359:2017 | Gas meters - Diaphragm gas meters |  | - | Restrictions: (a) for the purposes of clause ‘2 Normative references’ the following versions of standards apply: (i) EN ISO 4892-3:2016; (ii) ISO 7724-3:1984 | 2021-08-26 | OJ L 302 - 26/08/2021 |  | -
2014/32/EU | CEN | EN 1434-1:2007 | Heat meters - Part 1: General requirements | 2016-04-20 | OJ C 218 - 24/07/2012 | - |  | - | 2023-02-26 | OJ L 302 - 26/08/2021
2014/32/EU | CEN | EN 1434-2:2007, EN 1434-2:2007/AC:2007 | Heat meters - Part 2: Constructional requirements | 2016-04-20 | OJ C 218 - 24/07/2012 | - |  | - | 2023-02-26 | OJ L 302 - 26/08/2021
2014/32/EU | CEN | EN 1434-4:2007, EN 1434-4:2007/AC:2007 | Heat meters - Part 4: Pattern approval tests | 2016-04-20 | OJ C 218 - 24/07/2012 | - |  | - | 2023-02-26 | OJ L 302 - 26/08/2021
2014/32/EU | CEN | EN 1434-5:2007 | Heat meters - Part 5: Initial verification tests | 2016-04-20 | OJ C 218 - 24/07/2012 | - |  | - | 2023-02-26 | OJ L 302 - 26/08/2021
2014/32/EU | CEN | EN 12261:2002, EN 12261:2002/AC:2003, EN 12261:2002/A1:2006 | Gas meters - Turbine gas meters | 2016-04-20 | OJ C 218 - 24/07/2012 | - |  | - | 2023-02-26 | OJ L 302 - 26/08/2021
2014/32/EU | CEN | EN 12261:2018 | Gas meters - Turbine gas meters |  | - | Restrictions: for the purposes of clause ‘2 Normative references’ the following versions of standards apply: (i) EN 10204:2004 (ii) EN 60079-0:2018 as corrected by EN 60079-0:2018/AC:2020-02 (iii) EN 60079-11:2012 (iv) EN 60529:1991 as amended and corrected by EN 60529:1991/A2:2013/AC:2019-02 (v) EN 60947-5-6:2000 (vi) EN 62246-1:2015 | 2021-08-26 | OJ L 302 - 26/08/2021 | 2026-08-27 | OJ L, 2025/375 - 27/02/2025
2014/32/EU | CEN | EN 12261:2024 | Gas meters - Turbine gas meters | 2025-02-27 | OJ L, 2025/375 - 27/02/2025 | - |  | - |  | -
2014/32/EU | CEN | EN 12405-1:2018 | Gas meters - Conversion devices - Part 1: Volume conversion |  | - | Restrictions: for the purposes of clause ‘2 Normative references’ the following versions of standards apply: (i) EN 437:2021 (ii) EN 1776:2015 (iii) EN 55011:2016 as amended by EN 55011:2016/A2:2021 (iv) EN 60068-2-1:2007 (v) EN 60068-2-2:2007 (vi) EN 60068-2-30:2005 (vii) EN 60068-2-31:2008 (viii) EN 60068-2-64:2008 as amended by EN 60068-2-64:2008/A1:2019 (ix) EN 60068-2-78:2013 (x) EN 60068-3-1:2011 (xi) EN 60079-0:2018/AC:2020-02 (xii) EN 60079-1:2014/AC:2018-09 (xiii) EN 60079-2:2014/AC:2015 (xiv) EN 60079-5:2015 (xv) EN 60079-6:2015 (xvi) EN 60079-7:2015/A1:2018 (xvii) EN 60079-11:2012 (xviii) EN 60079-25:2010/AC:2013 (xix) EN 60529:1991/A2:2013/AC:2019-02 (xx) EN 60751:2008 (xxi) EN 60950-1:2006/A2:2013 (xxii) EN 61000-4-2:2009 (xxiii) EN 61000-4-3:2006/A2:2010 (xxiv) EN 61000-4-4:2012 (xxv) EN 61000-4-5:2014/A1:2017 (xxvi) EN 61000-4-6:2014/AC:2015 (xxvii) EN 61000-4-8:2010 (xxviii) EN 61000-4-11:2020/AC:2020-06 (xxix) EN 61000-4-29:2000 | 2021-08-26 | OJ L 302 - 26/08/2021 | 2026-08-27 | OJ L, 2025/375 - 27/02/2025
2014/32/EU | CEN | EN 12405-1:2021 | Gas meters - Conversion devices - Part 1: Volume conversion | 2025-02-27 | OJ L, 2025/375 - 27/02/2025 | - |  | - |  | -
2014/32/EU | CEN | EN 12405-1:2005+A2:2010 | Gas meters - Conversion devices - Part 1: Volume conversion | 2016-04-20 | OJ C 218 - 24/07/2012 | - |  | - | 2023-02-26 | OJ L 302 - 26/08/2021
2014/32/EU | CEN | EN 12480:2002, EN 12480:2002/A1:2006 | Gas meters - Rotary displacement gas meters | 2016-04-20 | OJ C 218 - 24/07/2012 | - |  | - | 2023-02-26 | OJ L 302 - 26/08/2021
2014/32/EU | CEN | EN 14154-1:2005+A2:2011 | Water meters - Part 1: General requirements | 2016-04-20 | OJ C 218 - 24/07/2012 | - |  | - | 2022-02-26 | OJ L 302 - 26/08/2021
2014/32/EU | CEN | EN 14154-2:2005+A2:2011 | Water meters - Part 2: Installation and conditions of use | 2016-04-20 | OJ C 218 - 24/07/2012 | - |  | - | 2022-02-26 | OJ L 302 - 26/08/2021
2014/32/EU | CEN | EN 14154-3:2005+A2:2011 | Water meters - Part 3: Test methods and equipment | 2016-04-20 | OJ C 218 - 24/07/2012 | - |  | - | 2022-02-26 | OJ L 302 - 26/08/2021
2014/32/EU | CEN | EN 14236:2007 | Ultrasonic domestic gas meters | 2016-04-20 | OJ C 218 - 24/07/2012 | - |  | - | 2023-02-26 | OJ L 302 - 26/08/2021
2014/32/EU | CEN | EN 14236:2018 | Ultrasonic domestic gas meters |  | - | Restrictions: (a) for the purposes of clause ‘2 Normative references’ the following versions of standards apply: (i) EN 55032:2015/A11:2020 (ii) EN 60068-2-5:2018 (iii) EN 60068-2-30:2005 (iv) EN IEC 60079-0:2018/AC:2020-02 (v) EN 60079-10-1:2021 (vi) EN 60079-10-2:2015 (vii) EN 60079-11:2012 (viii) EN IEC 60079-15:2019 (ix) EN IEC 60086-1:2021 (x) EN IEC 60086-4:2019/AC:2020-05 (xi) EN 60529:1991/A2:2013/AC:2019-02 (xii) EN 60695-11-5:2017 (xiii) EN 60695-11-10:2013/AC:2014 (xiv) EN 61000-4-2:2009 (xv) EN IEC 61000-4-3:2020 (xvi) EN 61000-4-8:2010 (xvii) EN 61000-4-9:2016 (xviii) EN IEC 61000-6-1:2019 (xix) EN IEC 61000-6-2:2019 (xx) EN ISO 1518-1:2019 (xxi) EN ISO 1518-2:2019 (xxii) EN ISO 2409:2020 (xxiii) EN ISO 4892-3:2016 (xxiv) EN ISO 6270-1:2018 (xxv) EN ISO 6272-1:2011 (xxvi) EN ISO 9227:2017 (xxvii) ISO 834-1:1999/AMD 1:2012 (xxviii) ISO 7724-3:1984 | 2021-08-26 | OJ L 302 - 26/08/2021 |  | -
2014/32/EU | Cenelec | EN 50470-1:2006 | Electricity metering equipment (a.c.) - Part 1: General requirements, tests and test conditions - Metering equipment (class indexes A, B and C) | 2016-04-20 | OJ C 218 - 24/07/2012 | - |  | - | 2023-02-26 | OJ L 302 - 26/08/2021
2014/32/EU | Cenelec | EN 50470-2:2006 | Electricity metering equipment (a.c.) - Part 2: Particular requirements - Electromechanical meters for active energy (class indexes A and B) | 2016-04-20 | OJ C 218 - 24/07/2012 | - |  | - | 2023-02-26 | OJ L 302 - 26/08/2021
2014/32/EU | Cenelec | EN 50470-3:2006 | Electricity metering equipment (a.c.) - Part 3: Particular requirements - Static meters for active energy (class indexes A, B and C) | 2016-04-20 | OJ C 218 - 24/07/2012 | - |  | - | 2023-02-26 | OJ L 302 - 26/08/2021
2014/32/EU | Cenelec | EN 62058-11:2010 | Electricity metering equipment (a.c.) - Acceptance inspection - Part 11: General acceptance inspection methods | 2016-04-20 | OJ C 218 - 24/07/2012 | - |  | - |  | -
2014/32/EU | Cenelec | EN 62058-21:2010 | Electricity metering equipment (a.c.) - Acceptance inspection - Part 21: Particular requirements for electromechanical meters for active energy (classes 0,5, 1 and 2 and class indexes A and B) | 2016-04-20 | OJ C 218 - 24/07/2012 | - |  | - |  | -
2014/32/EU | Cenelec | EN 62058-31:2010 | Electricity metering equipment (a.c.) - Acceptance inspection - Part 31: Particular requirements for static meters for active energy (classes 0,2 S, 0,5 S, 1 and 2, and class indexes A, B and C) | 2016-04-20 | OJ C 218 - 24/07/2012 | - |  | - |  | -
2014/32/EU | Cenelec | EN 62059-32-1:2012 | Electricity metering equipment - Dependability - Part 32-1: Durability - Testing of the stability of metrological characteristics by applying elevated temperature | 2016-04-20 | OJ C 218 - 24/07/2012 | - |  | - |  | -